## Slide 1: JEM-X Gain Calibration
Xe line analysis and IC tables
Carol Anne Oxborrow

## Slide 2: ISDC Gain History Table

## Slide 3: Gain Correction

## Slide 4: Xe line position: Good examples

## Slide 5: Xe line position: Not-so-good examples

## Slide 6: Non-linear Effect

## Slide 7: IC tables vs. non-corrected GainHistory tables

## Slide 8: Bad Things Made Good with IC Tables
Poor gain smoothing in j_cor_gain
  very rare with v8.03
Heavily grey-filtered gain history tables
  Zeros produced by j_calib_gain_fitting
  Happens with strong sources especially SCO X-1 and Crab
Generally low Xe level
  due to high gain and temperature dependence
  Due to microstrip plate aging
  Continues to increase with age
Non-linear gain effect
  Due to varying temperature/gain relationship
  Continues to increase with age
Unusual events
  Seen only a few times during mission
  Plate charging

## Slide 9: Rare Events: Revolution 953, JEM-X2

## Slide 10: Rare Events: JEM-X1 Revolution 332

## Slide 11: Calibration Sources